## Slide 2
Passive Attenuator
Device Under Test
Low Noise Amplifier
Out
In
DVM
Software
PC Audio Adapter
Out
Line In

## Slide 3
Calibration of measurement system:
Apply input signal to LNA through attenuator
Measure input signal with DMM and with analyzer
Compute Volts per ADU of analyzer
Testing the measurement system
Turn off input signal
Compute Volts at the input of the LNA
Measure input signal with the analyzer in ADU
Convert to Volts using calibration
Compute to voltage noise density

## Slide 4
Calibration of measurement system:
Apply input signal to DUT through attenuator
Measure input signal with DMM and with analyzer
Compute Volts per ADU of analyzer
Testing the DUT
Turn off input signal
Compute Volts at the input of the LNA
Measure input signal with the analyzer in ADU
Convert to Volts using calibration
Compute to voltage noise density